{"text_format":"2","workbook":"xlsx","n_sheets":6,"sheets":["2.1设备或工作台参数对照表","2.2 设备或工作台位置信息对照表","2.3 冻存盒类型对照表","2.4 冻存盒内位置信息对照表","2.5 冻存管类型对照表","2.6 冻存架支持的冻存盒与冻存管对照表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2.1设备或工作台参数对照表","index":0,"n_rows":3,"n_cols":2,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
[]
["设备或工作台描述","cu"]
["Hatch-Lite-001",1]

{"sheet":"2.2 设备或工作台位置信息对照表","index":1,"n_rows":288,"n_cols":18,"rows_kept":288,"cut":false,"hidden":false,"merged":[]}
[]
["cu","区域描述","ltu",null,"cu","进出盒窗口","ee","出入口内位置描述","pos",null,"cu","ltu","组","group","柱","unit","层","pos"]
[1,"冻存区",1,null,1,"默认窗口",1,"默认位置",1,null,1,1,"A",1,"A1",1,1,1]
[{"$nulls":10},1,1,"A",1,"A1",1,2,2]
[{"$nulls":10},1,1,"A",1,"A1",1,3,3]
[{"$nulls":10},1,1,"A",1,"A1",1,4,4]
[{"$nulls":10},1,1,"A",1,"A1",1,5,5]
[{"$nulls":10},1,1,"A",1,"A1",1,6,6]
[{"$nulls":10},1,1,"A",1,"A1",1,7,7]
[{"$nulls":10},1,1,"A",1,"A1",1,8,8]
[{"$nulls":10},1,1,"A",1,"A1",1,9,9]
[{"$nulls":10},1,1,"A",1,"A1",1,10,10]
[{"$nulls":10},1,1,"A",1,"A1",1,11,11]
[{"$nulls":10},1,1,"A",1,"A1",1,12,12]
[{"$nulls":10},1,1,"A",1,"A1",1,13,13]
[{"$nulls":10},1,1,"A",1,"A2",2,1,1]
[{"$nulls":10},1,1,"A",1,"A2",2,2,2]
[{"$nulls":10},1,1,"A",1,"A2",2,3,3]
[{"$nulls":10},1,1,"A",1,"A2",2,4,4]
[{"$nulls":10},1,1,"A",1,"A2",2,5,5]
[{"$nulls":10},1,1,"A",1,"A2",2,6,6]
[{"$nulls":10},1,1,"A",1,"A2",2,7,7]
[{"$nulls":10},1,1,"A",1,"A2",2,8,8]
[{"$nulls":10},1,1,"A",1,"A2",2,9,9]
[{"$nulls":10},1,1,"A",1,"A2",2,10,10]
[{"$nulls":10},1,1,"A",1,"A2",2,11,11]
[{"$nulls":10},1,1,"A",1,"A2",2,12,12]
[{"$nulls":10},1,1,"A",1,"A2",2,13,13]
[{"$nulls":10},1,1,"A",1,"A3",3,1,1]
[{"$nulls":10},1,1,"A",1,"A3",3,2,2]
[{"$nulls":10},1,1,"A",1,"A3",3,3,3]
[{"$nulls":10},1,1,"A",1,"A3",3,4,4]
[{"$nulls":10},1,1,"A",1,"A3",3,5,5]
[{"$nulls":10},1,1,"A",1,"A3",3,6,6]
[{"$nulls":10},1,1,"A",1,"A3",3,7,7]
[{"$nulls":10},1,1,"A",1,"A3",3,8,8]
[{"$nulls":10},1,1,"A",1,"A3",3,9,9]
[{"$nulls":10},1,1,"A",1,"A3",3,10,10]
[{"$nulls":10},1,1,"A",1,"A3",3,11,11]
[{"$nulls":10},1,1,"A",1,"A3",3,12,12]
[{"$nulls":10},1,1,"A",1,"A3",3,13,13]
[{"$nulls":10},1,1,"A",1,"A4",4,1,1]
[{"$nulls":10},1,1,"A",1,"A4",4,2,2]
[{"$nulls":10},1,1,"A",1,"A4",4,3,3]
[{"$nulls":10},1,1,"A",1,"A4",4,4,4]
[{"$nulls":10},1,1,"A",1,"A4",4,5,5]
[{"$nulls":10},1,1,"A",1,"A4",4,6,6]
[{"$nulls":10},1,1,"A",1,"A4",4,7,7]
[{"$nulls":10},1,1,"A",1,"A4",4,8,8]
[{"$nulls":10},1,1,"A",1,"A4",4,9,9]
[{"$nulls":10},1,1,"A",1,"A4",4,10,10]
[{"$nulls":10},1,1,"A",1,"A4",4,11,11]
[{"$nulls":10},1,1,"A",1,"A4",4,12,12]
[{"$nulls":10},1,1,"A",1,"A4",4,13,13]
[{"$nulls":10},1,1,"A",1,"A5",5,1,1]
[{"$nulls":10},1,1,"A",1,"A5",5,2,2]
[{"$nulls":10},1,1,"A",1,"A5",5,3,3]
[{"$nulls":10},1,1,"A",1,"A5",5,4,4]
[{"$nulls":10},1,1,"A",1,"A5",5,5,5]
[{"$nulls":10},1,1,"A",1,"A5",5,6,6]
[{"$nulls":10},1,1,"A",1,"A5",5,7,7]
[{"$nulls":10},1,1,"A",1,"A5",5,8,8]
[{"$nulls":10},1,1,"A",1,"A5",5,9,9]
[{"$nulls":10},1,1,"A",1,"A5",5,10,10]
[{"$nulls":10},1,1,"A",1,"A5",5,11,11]
[{"$nulls":10},1,1,"A",1,"A5",5,12,12]
[{"$nulls":10},1,1,"A",1,"A5",5,13,13]
[{"$nulls":10},1,1,"A",1,"A6",6,1,1]
[{"$nulls":10},1,1,"A",1,"A6",6,2,2]
[{"$nulls":10},1,1,"A",1,"A6",6,3,3]
[{"$nulls":10},1,1,"A",1,"A6",6,4,4]
[{"$nulls":10},1,1,"A",1,"A6",6,5,5]
[{"$nulls":10},1,1,"A",1,"A6",6,6,6]
[{"$nulls":10},1,1,"A",1,"A6",6,7,7]
[{"$nulls":10},1,1,"A",1,"A6",6,8,8]
[{"$nulls":10},1,1,"A",1,"A6",6,9,9]
[{"$nulls":10},1,1,"A",1,"A6",6,10,10]
[{"$nulls":10},1,1,"A",1,"A6",6,11,11]
[{"$nulls":10},1,1,"A",1,"A6",6,12,12]
[{"$nulls":10},1,1,"A",1,"A6",6,13,13]
[{"$nulls":10},1,1,"A",1,"A7",7,1,1]
[{"$nulls":10},1,1,"A",1,"A7",7,2,2]
[{"$nulls":10},1,1,"A",1,"A7",7,3,3]
[{"$nulls":10},1,1,"A",1,"A7",7,4,4]
[{"$nulls":10},1,1,"A",1,"A7",7,5,5]
[{"$nulls":10},1,1,"A",1,"A7",7,6,6]
[{"$nulls":10},1,1,"A",1,"A7",7,7,7]
[{"$nulls":10},1,1,"A",1,"A7",7,8,8]
[{"$nulls":10},1,1,"A",1,"A7",7,9,9]
[{"$nulls":10},1,1,"A",1,"A7",7,10,10]
[{"$nulls":10},1,1,"A",1,"A7",7,11,11]
[{"$nulls":10},1,1,"A",1,"A7",7,12,12]
[{"$nulls":10},1,1,"A",1,"A7",7,13,13]
[{"$nulls":10},1,1,"A",1,"A8",8,1,1]
[{"$nulls":10},1,1,"A",1,"A8",8,2,2]
[{"$nulls":10},1,1,"A",1,"A8",8,3,3]
[{"$nulls":10},1,1,"A",1,"A8",8,4,4]
[{"$nulls":10},1,1,"A",1,"A8",8,5,5]
[{"$nulls":10},1,1,"A",1,"A8",8,6,6]
[{"$nulls":10},1,1,"A",1,"A8",8,7,7]
[{"$nulls":10},1,1,"A",1,"A8",8,8,8]
[{"$nulls":10},1,1,"A",1,"A8",8,9,9]
[{"$nulls":10},1,1,"A",1,"A8",8,10,10]
[{"$nulls":10},1,1,"A",1,"A8",8,11,11]
[{"$nulls":10},1,1,"A",1,"A8",8,12,12]
[{"$nulls":10},1,1,"A",1,"A8",8,13,13]
[{"$nulls":10},1,1,"B",2,"B1",1,1,1]
[{"$nulls":10},1,1,"B",2,"B1",1,2,2]
[{"$nulls":10},1,1,"B",2,"B1",1,3,3]
[{"$nulls":10},1,1,"B",2,"B1",1,4,4]
[{"$nulls":10},1,1,"B",2,"B1",1,5,5]
[{"$nulls":10},1,1,"B",2,"B1",1,6,6]
[{"$nulls":10},1,1,"B",2,"B1",1,7,7]
[{"$nulls":10},1,1,"B",2,"B1",1,8,8]
[{"$nulls":10},1,1,"B",2,"B1",1,9,9]
[{"$nulls":10},1,1,"B",2,"B1",1,10,10]
[{"$nulls":10},1,1,"B",2,"B1",1,11,11]
[{"$nulls":10},1,1,"B",2,"B1",1,12,12]
[{"$nulls":10},1,1,"B",2,"B1",1,13,13]
[{"$nulls":10},1,1,"B",2,"B2",2,1,1]
[{"$nulls":10},1,1,"B",2,"B2",2,2,2]
[{"$nulls":10},1,1,"B",2,"B2",2,3,3]
[{"$nulls":10},1,1,"B",2,"B2",2,4,4]
[{"$nulls":10},1,1,"B",2,"B2",2,5,5]
[{"$nulls":10},1,1,"B",2,"B2",2,6,6]
[{"$nulls":10},1,1,"B",2,"B2",2,7,7]
[{"$nulls":10},1,1,"B",2,"B2",2,8,8]
[{"$nulls":10},1,1,"B",2,"B2",2,9,9]
[{"$nulls":10},1,1,"B",2,"B2",2,10,10]
[{"$nulls":10},1,1,"B",2,"B2",2,11,11]
[{"$nulls":10},1,1,"B",2,"B2",2,12,12]
[{"$nulls":10},1,1,"B",2,"B2",2,13,13]
[{"$nulls":10},1,1,"B",2,"B3",3,1,1]
[{"$nulls":10},1,1,"B",2,"B3",3,2,2]
[{"$nulls":10},1,1,"B",2,"B3",3,3,3]
[{"$nulls":10},1,1,"B",2,"B3",3,4,4]
[{"$nulls":10},1,1,"B",2,"B3",3,5,5]
[{"$nulls":10},1,1,"B",2,"B3",3,6,6]
[{"$nulls":10},1,1,"B",2,"B3",3,7,7]
[{"$nulls":10},1,1,"B",2,"B3",3,8,8]
[{"$nulls":10},1,1,"B",2,"B3",3,9,9]
[{"$nulls":10},1,1,"B",2,"B3",3,10,10]
[{"$nulls":10},1,1,"B",2,"B3",3,11,11]
[{"$nulls":10},1,1,"B",2,"B3",3,12,12]
[{"$nulls":10},1,1,"B",2,"B3",3,13,13]
[{"$nulls":10},1,1,"B",2,"B4",4,1,1]
[{"$nulls":10},1,1,"B",2,"B4",4,2,2]
[{"$nulls":10},1,1,"B",2,"B4",4,3,3]
[{"$nulls":10},1,1,"B",2,"B4",4,4,4]
[{"$nulls":10},1,1,"B",2,"B4",4,5,5]
[{"$nulls":10},1,1,"B",2,"B4",4,6,6]
[{"$nulls":10},1,1,"B",2,"B4",4,7,7]
[{"$nulls":10},1,1,"B",2,"B4",4,8,8]
[{"$nulls":10},1,1,"B",2,"B4",4,9,9]
[{"$nulls":10},1,1,"B",2,"B4",4,10,10]
[{"$nulls":10},1,1,"B",2,"B4",4,11,11]
[{"$nulls":10},1,1,"B",2,"B4",4,12,12]
[{"$nulls":10},1,1,"B",2,"B4",4,13,13]
[{"$nulls":10},1,1,"B",2,"B5",5,1,1]
[{"$nulls":10},1,1,"B",2,"B5",5,2,2]
[{"$nulls":10},1,1,"B",2,"B5",5,3,3]
[{"$nulls":10},1,1,"B",2,"B5",5,4,4]
[{"$nulls":10},1,1,"B",2,"B5",5,5,5]
[{"$nulls":10},1,1,"B",2,"B5",5,6,6]
[{"$nulls":10},1,1,"B",2,"B5",5,7,7]
[{"$nulls":10},1,1,"B",2,"B5",5,8,8]
[{"$nulls":10},1,1,"B",2,"B5",5,9,9]
[{"$nulls":10},1,1,"B",2,"B5",5,10,10]
[{"$nulls":10},1,1,"B",2,"B5",5,11,11]
[{"$nulls":10},1,1,"B",2,"B5",5,12,12]
[{"$nulls":10},1,1,"B",2,"B5",5,13,13]
[{"$nulls":10},1,1,"B",2,"B6",6,1,1]
[{"$nulls":10},1,1,"B",2,"B6",6,2,2]
[{"$nulls":10},1,1,"B",2,"B6",6,3,3]
[{"$nulls":10},1,1,"B",2,"B6",6,4,4]
[{"$nulls":10},1,1,"B",2,"B6",6,5,5]
[{"$nulls":10},1,1,"B",2,"B6",6,6,6]
[{"$nulls":10},1,1,"B",2,"B6",6,7,7]
[{"$nulls":10},1,1,"B",2,"B6",6,8,8]
[{"$nulls":10},1,1,"B",2,"B6",6,9,9]
[{"$nulls":10},1,1,"B",2,"B6",6,10,10]
[{"$nulls":10},1,1,"B",2,"B6",6,11,11]
[{"$nulls":10},1,1,"B",2,"B6",6,12,12]
[{"$nulls":10},1,1,"B",2,"B6",6,13,13]
[{"$nulls":10},1,1,"B",2,"B7",7,1,1]
[{"$nulls":10},1,1,"B",2,"B7",7,2,2]
[{"$nulls":10},1,1,"B",2,"B7",7,3,3]
[{"$nulls":10},1,1,"B",2,"B7",7,4,4]
[{"$nulls":10},1,1,"B",2,"B7",7,5,5]
[{"$nulls":10},1,1,"B",2,"B7",7,6,6]
[{"$nulls":10},1,1,"B",2,"B7",7,7,7]
[{"$nulls":10},1,1,"B",2,"B7",7,8,8]
[{"$nulls":10},1,1,"B",2,"B7",7,9,9]
[{"$nulls":10},1,1,"B",2,"B7",7,10,10]
[{"$nulls":10},1,1,"B",2,"B7",7,11,11]
[{"$nulls":10},1,1,"B",2,"B7",7,12,12]
[{"$nulls":10},1,1,"B",2,"B7",7,13,13]
[{"$nulls":10},1,1,"B",2,"B8",8,1,1]
[{"$nulls":10},1,1,"B",2,"B8",8,2,2]
[{"$nulls":10},1,1,"B",2,"B8",8,3,3]
[{"$nulls":10},1,1,"B",2,"B8",8,4,4]
[{"$nulls":10},1,1,"B",2,"B8",8,5,5]
[{"$nulls":10},1,1,"B",2,"B8",8,6,6]
[{"$nulls":10},1,1,"B",2,"B8",8,7,7]
[{"$nulls":10},1,1,"B",2,"B8",8,8,8]
[{"$nulls":10},1,1,"B",2,"B8",8,9,9]
[{"$nulls":10},1,1,"B",2,"B8",8,10,10]
[{"$nulls":10},1,1,"B",2,"B8",8,11,11]
[{"$nulls":10},1,1,"B",2,"B8",8,12,12]
[{"$nulls":10},1,1,"B",2,"B8",8,13,13]
[{"$nulls":10},1,1,"B",2,"B9",9,1,1]
[{"$nulls":10},1,1,"B",2,"B9",9,2,2]
[{"$nulls":10},1,1,"B",2,"B9",9,3,3]
[{"$nulls":10},1,1,"B",2,"B9",9,4,4]
[{"$nulls":10},1,1,"B",2,"B9",9,5,5]
[{"$nulls":10},1,1,"B",2,"B9",9,6,6]
[{"$nulls":10},1,1,"B",2,"B9",9,7,7]
[{"$nulls":10},1,1,"B",2,"B9",9,8,8]
[{"$nulls":10},1,1,"B",2,"B9",9,9,9]
[{"$nulls":10},1,1,"B",2,"B9",9,10,10]
[{"$nulls":10},1,1,"B",2,"B9",9,11,11]
[{"$nulls":10},1,1,"B",2,"B9",9,12,12]
[{"$nulls":10},1,1,"B",2,"B9",9,13,13]
[{"$nulls":10},1,1,"B",2,"B10",10,1,1]
[{"$nulls":10},1,1,"B",2,"B10",10,2,2]
[{"$nulls":10},1,1,"B",2,"B10",10,3,3]
[{"$nulls":10},1,1,"B",2,"B10",10,4,4]
[{"$nulls":10},1,1,"B",2,"B10",10,5,5]
[{"$nulls":10},1,1,"B",2,"B10",10,6,6]
[{"$nulls":10},1,1,"B",2,"B10",10,7,7]
[{"$nulls":10},1,1,"B",2,"B10",10,8,8]
[{"$nulls":10},1,1,"B",2,"B10",10,9,9]
[{"$nulls":10},1,1,"B",2,"B10",10,10,10]
[{"$nulls":10},1,1,"B",2,"B10",10,11,11]
[{"$nulls":10},1,1,"B",2,"B10",10,12,12]
[{"$nulls":10},1,1,"B",2,"B10",10,13,13]
[{"$nulls":10},1,1,"B",2,"B11",11,1,1]
[{"$nulls":10},1,1,"B",2,"B11",11,2,2]
[{"$nulls":10},1,1,"B",2,"B11",11,3,3]
[{"$nulls":10},1,1,"B",2,"B11",11,4,4]
[{"$nulls":10},1,1,"B",2,"B11",11,5,5]
[{"$nulls":10},1,1,"B",2,"B11",11,6,6]
[{"$nulls":10},1,1,"B",2,"B11",11,7,7]
[{"$nulls":10},1,1,"B",2,"B11",11,8,8]
[{"$nulls":10},1,1,"B",2,"B11",11,9,9]
[{"$nulls":10},1,1,"B",2,"B11",11,10,10]
[{"$nulls":10},1,1,"B",2,"B11",11,11,11]
[{"$nulls":10},1,1,"B",2,"B11",11,12,12]
[{"$nulls":10},1,1,"B",2,"B11",11,13,13]
[{"$nulls":10},1,1,"B",2,"B12",12,1,1]
[{"$nulls":10},1,1,"B",2,"B12",12,2,2]
[{"$nulls":10},1,1,"B",2,"B12",12,3,3]
[{"$nulls":10},1,1,"B",2,"B12",12,4,4]
[{"$nulls":10},1,1,"B",2,"B12",12,5,5]
[{"$nulls":10},1,1,"B",2,"B12",12,6,6]
[{"$nulls":10},1,1,"B",2,"B12",12,7,7]
[{"$nulls":10},1,1,"B",2,"B12",12,8,8]
[{"$nulls":10},1,1,"B",2,"B12",12,9,9]
[{"$nulls":10},1,1,"B",2,"B12",12,10,10]
[{"$nulls":10},1,1,"B",2,"B12",12,11,11]
[{"$nulls":10},1,1,"B",2,"B12",12,12,12]
[{"$nulls":10},1,1,"B",2,"B12",12,13,13]
[{"$nulls":10},1,1,"B",2,"B13",13,1,1]
[{"$nulls":10},1,1,"B",2,"B13",13,2,2]
[{"$nulls":10},1,1,"B",2,"B13",13,3,3]
[{"$nulls":10},1,1,"B",2,"B13",13,4,4]
[{"$nulls":10},1,1,"B",2,"B13",13,5,5]
[{"$nulls":10},1,1,"B",2,"B13",13,6,6]
[{"$nulls":10},1,1,"B",2,"B13",13,7,7]
[{"$nulls":10},1,1,"B",2,"B13",13,8,8]
[{"$nulls":10},1,1,"B",2,"B13",13,9,9]
[{"$nulls":10},1,1,"B",2,"B13",13,10,10]
[{"$nulls":10},1,1,"B",2,"B13",13,11,11]
[{"$nulls":10},1,1,"B",2,"B13",13,12,12]
[{"$nulls":10},1,1,"B",2,"B13",13,13,13]
[{"$nulls":10},1,1,"B",2,"B14",14,1,1]
[{"$nulls":10},1,1,"B",2,"B14",14,2,2]
[{"$nulls":10},1,1,"B",2,"B14",14,3,3]
[{"$nulls":10},1,1,"B",2,"B14",14,4,4]
[{"$nulls":10},1,1,"B",2,"B14",14,5,5]
[{"$nulls":10},1,1,"B",2,"B14",14,6,6]
[{"$nulls":10},1,1,"B",2,"B14",14,7,7]
[{"$nulls":10},1,1,"B",2,"B14",14,8,8]
[{"$nulls":10},1,1,"B",2,"B14",14,9,9]
[{"$nulls":10},1,1,"B",2,"B14",14,10,10]
[{"$nulls":10},1,1,"B",2,"B14",14,11,11]
[{"$nulls":10},1,1,"B",2,"B14",14,12,12]
[{"$nulls":10},1,1,"B",2,"B14",14,13,13]

{"sheet":"2.3 冻存盒类型对照表","index":2,"n_rows":5,"n_cols":2,"rows_kept":5,"cut":false,"hidden":false,"merged":[]}
[]
["冻存盒类型描述","rack"]
["NALGENE 5ML 14*14阵列冻存盒",101]
["NALGENE 2ML 9*9阵列冻存盒",102]
["NEST 2ML 9*9阵列冻存盒",103]

{"sheet":"2.4 冻存盒内位置信息对照表","index":3,"n_rows":198,"n_cols":3,"rows_kept":198,"cut":false,"hidden":false,"merged":[]}
[]
["rack","位置描述","no"]
[101,"A1",1]
[101,"A2",2]
[101,"A3",3]
[101,"A4",4]
[101,"A5",5]
[101,"A6",6]
[101,"A7",7]
[101,"A8",8]
[101,"A9",9]
[101,"A10",10]
[101,"A11",11]
[101,"A12",12]
[101,"A13",13]
[101,"A14",14]
[101,"B1",15]
[101,"B2",16]
[101,"B3",17]
[101,"B4",18]
[101,"B5",19]
[101,"B6",20]
[101,"B7",21]
[101,"B8",22]
[101,"B9",23]
[101,"B10",24]
[101,"B11",25]
[101,"B12",26]
[101,"B13",27]
[101,"B14",28]
[101,"C1",29]
[101,"C2",30]
[101,"C3",31]
[101,"C4",32]
[101,"C5",33]
[101,"C6",34]
[101,"C7",35]
[101,"C8",36]
[101,"C9",37]
[101,"C10",38]
[101,"C11",39]
[101,"C12",40]
[101,"C13",41]
[101,"C14",42]
[101,"D1",43]
[101,"D2",44]
[101,"D3",45]
[101,"D4",46]
[101,"D5",47]
[101,"D6",48]
[101,"D7",49]
[101,"D8",50]
[101,"D9",51]
[101,"D10",52]
[101,"D11",53]
[101,"D12",54]
[101,"D13",55]
[101,"D14",56]
[101,"E1",57]
[101,"E2",58]
[101,"E3",59]
[101,"E4",60]
[101,"E5",61]
[101,"E6",62]
[101,"E7",63]
[101,"E8",64]
[101,"E9",65]
[101,"E10",66]
[101,"E11",67]
[101,"E12",68]
[101,"E13",69]
[101,"E14",70]
[101,"F1",71]
[101,"F2",72]
[101,"F3",73]
[101,"F4",74]
[101,"F5",75]
[101,"F6",76]
[101,"F7",77]
[101,"F8",78]
[101,"F9",79]
[101,"F10",80]
[101,"F11",81]
[101,"F12",82]
[101,"F13",83]
[101,"F14",84]
[101,"G1",85]
[101,"G2",86]
[101,"G3",87]
[101,"G4",88]
[101,"G5",89]
[101,"G6",90]
[101,"G7",91]
[101,"G8",92]
[101,"G9",93]
[101,"G10",94]
[101,"G11",95]
[101,"G12",96]
[101,"G13",97]
[101,"G14",98]
[101,"H1",99]
[101,"H2",100]
[101,"H3",101]
[101,"H4",102]
[101,"H5",103]
[101,"H6",104]
[101,"H7",105]
[101,"H8",106]
[101,"H9",107]
[101,"H10",108]
[101,"H11",109]
[101,"H12",110]
[101,"H13",111]
[101,"H14",112]
[101,"I1",113]
[101,"I2",114]
[101,"I3",115]
[101,"I4",116]
[101,"I5",117]
[101,"I6",118]
[101,"I7",119]
[101,"I8",120]
[101,"I9",121]
[101,"I10",122]
[101,"I11",123]
[101,"I12",124]
[101,"I13",125]
[101,"I14",126]
[101,"J1",127]
[101,"J2",128]
[101,"J3",129]
[101,"J4",130]
[101,"J5",131]
[101,"J6",132]
[101,"J7",133]
[101,"J8",134]
[101,"J9",135]
[101,"J10",136]
[101,"J11",137]
[101,"J12",138]
[101,"J13",139]
[101,"J14",140]
[101,"K1",141]
[101,"K2",142]
[101,"K3",143]
[101,"K4",144]
[101,"K5",145]
[101,"K6",146]
[101,"K7",147]
[101,"K8",148]
[101,"K9",149]
[101,"K10",150]
[101,"K11",151]
[101,"K12",152]
[101,"K13",153]
[101,"K14",154]
[101,"L1",155]
[101,"L2",156]
[101,"L3",157]
[101,"L4",158]
[101,"L5",159]
[101,"L6",160]
[101,"L7",161]
[101,"L8",162]
[101,"L9",163]
[101,"L10",164]
[101,"L11",165]
[101,"L12",166]
[101,"L13",167]
[101,"L14",168]
[101,"M1",169]
[101,"M2",170]
[101,"M3",171]
[101,"M4",172]
[101,"M5",173]
[101,"M6",174]
[101,"M7",175]
[101,"M8",176]
[101,"M9",177]
[101,"M10",178]
[101,"M11",179]
[101,"M12",180]
[101,"M13",181]
[101,"M14",182]
[101,"N1",183]
[101,"N2",184]
[101,"N3",185]
[101,"N4",186]
[101,"N5",187]
[101,"N6",188]
[101,"N7",189]
[101,"N8",190]
[101,"N9",191]
[101,"N10",192]
[101,"N11",193]
[101,"N12",194]
[101,"N13",195]
[101,"N14",196]

{"sheet":"2.5 冻存管类型对照表","index":4,"n_rows":5,"n_cols":2,"rows_kept":5,"cut":false,"hidden":false,"merged":[]}
[]
["冻存管类型描述","tube"]
["NEST 2ML 冻存管，内旋盖，圆底可立",201]
["NUNC 1.8ML CryoTube冻存管，内旋盖，星型脚可立",202]
["NUNC 5ML CryoTube冻存管，内旋盖，星型脚可立",203]

{"sheet":"2.6 冻存架支持的冻存盒与冻存管对照表","index":5,"n_rows":23,"n_cols":6,"rows_kept":23,"cut":false,"hidden":false,"merged":[]}
["cu","ltu","group","unit","rack","tube"]
[1,1,1,1,101,201]
[1,1,1,2,101,201]
[1,1,1,3,101,201]
[1,1,1,4,101,201]
[1,1,1,5,101,201]
[1,1,1,6,101,201]
[1,1,1,7,101,201]
[1,1,1,8,101,201]
[1,1,2,1,102,202]
[1,1,2,2,102,202]
[1,1,2,3,102,202]
[1,1,2,4,102,202]
[1,1,2,5,102,202]
[1,1,2,6,102,202]
[1,1,2,7,102,202]
[1,1,2,8,102,202]
[1,1,2,9,102,202]
[1,1,2,10,102,202]
[1,1,2,11,103,203]
[1,1,2,12,103,203]
[1,1,2,13,103,203]
[1,1,2,14,103,203]